## Slide 1
[Episode.4]
Dormitory
Fire Safety
Disabled
Woman
Elderly
Foreigner

## Slide 2
1. Overload, Leakage & Short circuit _ 2p
2. Danger of Multi-plug Outlets _ 9p
3. Electric Fire Prevention Tips_ 11p
Contents
Dormitory Fire Safety
[Episode.4 ]
Disabled
Woman
Elderly
Foreigner

## Slide 3
1
National Fire Data System(www.nfds.go.kr), Dormitory fire statistics
Number
of fires
casualties
2016
2017
2018
2019
Overload, Leakage & Short circuit
Disabled
Woman
Elderly
Foreigner
Dormitory fire statistics

## Slide 4
Fire at Cheong Joo dorm caused a 50-year-old worker death
A fire in the dorm of a company in Cheong Buk province, Cheong Joo city, caused the death of Mr. A (59).
Mr. A died due to electric shock. 6 other workers were evacuated hence there were no more casualties
Joseon Times 18.8.22.
'Cigarette butts' A fire at night at Bukyung University 9th floor
At the Daemyung campus of Bukyung University in South Busan, a fire occurred in the 9th floor corridor of the Heangbok general dormitory, causing hundreds of people to evacuate.
It is said that the cause of the fire was that Mr. A (21) threw the cigarette butt into a paper bag after going to shopping.
Kyung Hang Times 18.2.9.
1
Disabled
Woman
Elderly
Foreigner
Overload, Leakage & Short circuit

## Slide 5
“
“
Most fires that occur in dormitories often involve electricity
Generating heat due to excessive capacitance use,
Electric overloading due to the use of a multi plug outlet that easily ignite objects around the power source and cause a fire.
Especially for foreign workers, dormitories are often in places where fire safety conditions are poor, such as containers or prefabricated house, so if there is a fire, there will be likely many injuries to people.
1
Disabled
Woman
Elderly
Foreigner
Overload, Leakage & Short circuit

## Slide 6
Rated Power
Each electrical device or power cord has a specific electrical capacity that is specified for safe use
Electric Overload
The amount of electricity used exceeds the standard capacitance allowed, resulting to the electrical line to melt and electrical wires to deform
1
Disabled
Woman
Elderly
Foreigner
Overload, Leakage & Short circuit

## Slide 7
1. When plugging many electric devices
into a multi plug outlet
2. When using electric equipment in
excess of the permitted capacitance
of the power source
Very dangerous when an electric overload occurs
1
Disabled
Woman
Elderly
Foreigner
Danger of multi plug outlet
Overload, Leakage & Short circuit

## Slide 8
Same as electric shock,
the positive and negative poles of the circuit touch each other, causing sparks to ignite and cause an explosion
1
Disabled
Woman
Elderly
Foreigner
What is short circuit?
Overload, Leakage & Short circuit

## Slide 9
When electrical wire or current does not enter electrical equipment as usual, but it leaks out of objects that catch electricity outside abnormally
1
Disabled
Woman
Elderly
Foreigner
What is electric leakage?
Overload, Leakage & Short circuit

## Slide 10
“
“
2
Danger of Multi-plug Outlets
"Electrical fires" account for 27.9% of total fires, it is a high proportion and under the category of “Fire caused by neglectfulness".
How to ensure electrical safety from fire?
Disabled
Woman
Elderly
Foreigner

## Slide 11
Electric overload when
plugging another
outlet into an
multi plug outlet
When plugging
multiple devices
into 1 outlet
2
Danger of Multi-plug Outlets
Disabled
Woman
Elderly
Foreigner
Overload causes fire

## Slide 12
3
Electric Fire Prevention Tips
Do not hold the cord, but the body of the electrical appliance, when unplugging it
Do not leave the open power supply on the ground or in locations such as by the doors
Disabled
Woman
Elderly
Foreigner

## Slide 13
3
Electric Fire Prevention Tips
Disabled
Woman
Elderly
Foreigner
Use “special outlet" for electrical equipment that
needs large capacitance to avoid overloading or leakage

## Slide 14
“
“
For dormitories that have unsafe electrical facilities, it is needed to pay considerable caution when using multi plug outlets to prevent short circuit
Understanding the use of electrical equipment and the basic knowledge of short circuits and other electrical accidents will help you protect the lives of yourself and those around you.
Key Points for Fire Safety
Disabled
Woman
Elderly
Foreigner
*

## Slide 15
Fire safety training is the foundation for a safe society and happy people
Dormitory Fire Safety